##### Clinical Indications

- Mild Posterior Tibial Tendon Dysfunction (PTTD)

- Mild to moderate Degenerative Joint Disease (DJD)

- Talocalcaneal varus or valgus

- Ankle instability

- Mild to moderate pronation

- Paralytic equines or drop foot

- Trauma

##### Features and Options

- Soft, comfortable molded leather inner shell lining

- Padded with 1/8″ medical-grade foam

- Polypropylene shell

- Available with Free Motion or Dorsi-Assist ankle joint

- Full-length footplate

- Removable insole

- Tamarack, Tamarack dorsi-assist

- Suggested L Codes:

L1970 Ankle foot orthosis, plastic with ankle joint, custom fabricated
L2820 Addition to Lower Extremity Orthosis, Soft Interface for Molded Plastic, Below Knee Section
L2330 A leather, or similar material, lacer molded from a model of the patient, that fits around the calf area, includes casting and cast preparation joint