ACTIVE-OVERLAP

##### Clinical Indications

- Mild to moderate Posterior Tibial Tendon Dysfunction (PTTD)

- Chronic ankle instability

##### Features and Options

- Ankle axis hinge

- EVA top cover

- Removable upright pads

- Heel cup – 35mm

- Top cover extended to Mets

- Heel stabilizer

- Upright aligned perpendicular to the footplate

Suggested L Codes: L1970, L2820