ACTIVE SPLIT UPRIGHT

##### Clinical Indications

- Posterior Tibial Tendon Dysfunction (PTTD)

- Lateral & medial instability of subtalar joint

- Chronic ankle instability

- Severe pronation

- Sinus tarsi syndrome

- Trauma

##### Features and Options

- Custom-molded polypropylene metatarsal-length foot orthosis with 25mm heel cup attached to an integrated custom calf section

- Balanced biodynamic forefoot and heel system

- Removable medial and lateral soft interface pad system

- Fully adjustable closure system

- 100% custom-made

Suggested L Codes: L1970, L2820