##### TRADITIONAL  SOLID

##### Clinical Indications

- Foot drop

- Weak or absent plantar flexors and/or dorsiflexors

- Severe degenerative arthritis

- Lateral and medial instability of subtalar joint

- Trauma

##### Features and Options

- Thermoplastic shell

- Select from three profile designs

- Metatarsal, sulcus, or full length footplate

- Closure with tibial pad

- Suggested L Codes: L1960Traditional