TRADITIONAL ARTICULATED

Tamarack, Tamarack dorsi-assist

##### Clinical Indications

- Mild Posterior Tibial Tendon Dysfunction (PTTD)

- Mild degenerative arthritis

- Lateral and medial instability of subtalar joint

- Foot drop

- Severe pronation

- Trauma

##### Features and Options

- Thermoplastic shell

- Available with Free Motion or Dorsi-Assist ankle joint

- Available with varus or valgus correction

- Metatarsal, sulcus, or full length footplate

- Optional 1/8″ medical-grade foam padding

- Closure with tibial pad

Suggested L Codes: L1970